## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-38 Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7551
DATE OF REPORT: 11/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7551
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-38 Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
Carried Out On | 28/04/2021, 11/08/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Repairs as stipulated by LC report from works carried out on 20/04/2021 21-7509

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7551
SECTION 3: Report
LPC 1445 - 1730 supplied and fitted new CH expansion vessel as req . Altered pipe work to suite , set up charge pressure to 70 % of system working pressure . Brought the other Calorifior back on line, and allowed time for DHW to recover. Monitored functions and performance both Calorifior sitting with stored water at 60c. When around building and pulled DHW through to areas , all ok . Tony has removed the old vessel from site . NOTE boiler no.1 was is still not running as req a new fan and spark generator. Parts to be taken off a boiler at Athlone crt in Blyth as per Dave Hunter . Boiler 1 is now operational fitted fan installed new pump set and fitted new calorifier stat all tested and working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes