## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7561
DATE OF REPORT: 22/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7561
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 22/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating/hot water - whole building No Coivd issues and advised to wear mask and ventilate - originally reported by Miss Linney flat 34

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7561
SECTION 3: Report
Attend site 1200 for no heating or hot water Gain access to plantroom find both primary and heating pumps in fault, reset and test find boilers fire up 2ait until every thing up to temp , flats 30 -36 complaining of no heating still so had to go into each property and vent all radiators, all building now has heating and water. Offsite 1500 complete Assisted by Carl

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes