## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7566
DATE OF REPORT: 27/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7566
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 27/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Check possible issue with the underfloor heating. I reported an issue with water marks on the ceiling in the hallway and hallway cupboard apartment 16. A joiner already onsite had a look and suggested Zenith Mechanical were required to look at a possible issue with the underfloor heating. Please could someone check this request for Zenith is in hand and also request them for the same issue in the hallway cupboard of apartment 19. Thanks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7566
SECTION 3: Report
The notes on this job are wrong this job is for no heating in the bathroom Arrive onsite 1430 find bathroom room stat faulty , so using one from sites own stock, isolate the underfloor heating electric supply and swap out the room stat and recommission and test all ok. Parts used 1 no danfoss room stat (sites on stock) Offsite 1515 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7566
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7566
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7566
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7566
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7566
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes