## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Spring View
Bristol Drive
Battle Hill
NE28 9TH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7578
DATE OF REPORT: 26/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7578
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 13 Spring View
Bristol Drive
Battle Hill
NE28 9TH
Carried Out On | 22/04/2021, 23/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
2 heads on manifold leaking send to Zenith Please contact Mr. Miller (Tenant) 07531165647.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7578
SECTION 3: Report
LPC 22.4.21 1525 - 1630 Arrived on site and gained access to flat 13 . Isolated heating manifold and drained off residual water . Checked all cartridges and located 2 x that leaking , removed failed items. Supplied and fitted 2 x cartridges from van stock as req . Turned supply back on to manifold and checked for leaks , all ok . LPC - RB 23.4.21 1200 1550 But real actual time in total in flat- 1.5 hrs Gained access to flat and tested performance of all underfloor heating circuit, found flow to be really poor and possibly blocked. Removed all actuators and left running and full bore , kept going to flat to check . Heating now flowing through circuit and working ok . Refitted actuators.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes