## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Ridley Avenue
Chester-Le-Street
County Durham
DH2 2EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7579
DATE OF REPORT: 23/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7579
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Ridley Avenue
Chester-Le-Street
County Durham
DH2 2EJ
Carried Out On | 23/04/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Replacement boiler required - Auth Andy Sutherland Currently the tenant has no heating but has an electric shower

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7579
SECTION 3: Report
Worcester green star 30si to be replaced Boiler is currently off tenant with no heating of hot water Condensate will need re drilled in inch 1/4 Will be enough space for scale reducer and heating filter. Tenant was offered temporary heaters but said he would be okay. Tenants number is 07746507625. He is available any day.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7579
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes