## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Hawthorne Grove
Wallsend
Tyne and Wear
NE28 8HD
CARRIED OUT ON BEHALF OF
Ms Jane E Smyth
REPORT NUMBER: 21-7581
DATE OF REPORT: 22/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7581
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Ms Jane E Smyth
Address | 13 Hawthorne Grove
Wallsend
Tyne and Wear
NE28 8HD
Site Address | 13 Hawthorne Grove
Wallsend
Tyne and Wear
NE28 8HD
Carried Out On | 19/03/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Repair uncontrollable leak caused during works within cloakroom.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7581
SECTION 3: Report
Attended site to repair screwed pipework. Removed a small section of plasterboard to access leaking pipework, found leak to be on heating pipework feeding towel radiator within cloakroom. I isolated the boiler from the heating system and drained the remaining water from the pipework, i then cut out the defective section of pipework and replaced with a new copper section of pipework. The heating system was then refilled and tested checking for any other leaks within the system. The heating and hot water was checked for correct operation before leaving site. works complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7581
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7581
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7581
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7581
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7581
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes