## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rosebank Hall
Willington Terrace
wallsend
NE28 7BT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7601
DATE OF REPORT: 26/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7601
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rosebank Hall
Willington Terrace
wallsend
NE28 7BT
Carried Out On | 23/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Pressurisation units alarming in the plant room please treat as Urgent

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7601
SECTION 3: Report
LPC - RB 23.4.21 1510 - 1620 Attended site and gained access to plantroom. Foynd pressurisation unit in flood fault and alarming. Tested all compliments and found that pressure relief had lifted , as expansion vessel has lost its charge . Used a compressor and recharged vessel to correct pressure , reset pressurisation unit cleared error. System pressure sat at 1.5 bar , boilers fired and ran with no issues . Found to working all ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes