## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-58 Weavers Court:Swordy Drive
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7602
DATE OF REPORT: 27/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7602
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-58 Weavers Court:Swordy Drive
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 27/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Zurich have been out to inspect the boiler room and noted 3 concerns which could we please notigy Zenith Mechanical of- a pipe leaking above boiler 2 and water sitting on top of the boiler another water leak which may need a vent tightening they think and a leak from the first water tank which may need bolts tightening on a metal plate.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7602
SECTION 3: Report
Onsite 1515 Find condensate pipework from the flue leaking from boiler no 2 pick up 11/4" pipe and fillings from wholesalers and cut out faulty pipework but had to cut out further to sound pipe as its crumbling. Re pipe no 1 boiler and no 2 boiler condensate pipework. Relight boilers and check for leaks all ok . Parts used 1 no 11/4" solvent weld pipe 3 no 11/4" solvent weld T 4 no 11/4" solvent weld elbows 3 no 11/4" solvent weld straight Solvent weld 1 no solvent weld drain rod eye 1 no 11/4" to 34" reducer 1 no 22mm -15mm reducer

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes