## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 Cuthberts Close
Hexham
Northumberland
NE46 2HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7613
DATE OF REPORT: 28/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7613
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 32 Cuthberts Close
Hexham
Northumberland
NE46 2HU
Carried Out On | 28/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Resident is still having issues with boiler. A Karbon engineer came out and changed a part at the weekend. He advised the system was full of dirt. He replaced a part but the underfloor heating system needs flushing. This could be the issue why its not heating correctly.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7613
SECTION 3: Report
Attend site 0800 Karbo have requested that the underfloor heating to be flushed. Isolate boiler and release pressure out of system and disconnect each underfloor circuit return pipework. Using the boiler fill loop flush out the circuit the hose for 10 mins per circuit. Once all finished add inhibitor to the heating circuits, Comission all heating and check all circuits work. Notice boiler has no filter on pipework and heating circuit showed heavy discoloration and system is only 1.5 years old parts used 2 x inhibitor Offsite 1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes