## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-24 Aldwych House
Commercial Road
South Sheilds
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7619
DATE OF REPORT: 27/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7619
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-24 Aldwych House
Commercial Road
South Sheilds
NE33 1UE
Carried Out On | 27/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
No heating or hot water - Reported by Flat 1 and tenant states she thinks heating is off in whole block

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7619
SECTION 3: Report
LPC 27.4.21 1015 - 1155 Arrived on site and gained access to building , collected key and proceeded to plantroom. Found that the gas circuit had tripped, caused by a power cut earlier this morning. Reset controls and reset boilers as req , boilers fired up and ran . Allowed time for DHW to recovery until 60c , stored water achieved . When into building pulled DHW through to taps . Working ok now .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes