## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
A4 Dock Office, 1st Floor Boiler Room
Smulders Hadrian Yard
Hadrian Way
NE28 6HL
CARRIED OUT ON BEHALF OF
Smulders Hadrians Yard
REPORT NUMBER: 21-7635
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7635
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Smulders Hadrians Yard
Address | Hadrians Way
Newcastle Upon Tyne
NE28 6HL
Site Address | A4 Dock Office, 1st Floor Boiler Room
Smulders Hadrian Yard
Hadrian Way
NE28 6HL
Carried Out On | 21/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Gas safe

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7635
SECTION 3: Report
Attended 1300 to carry out a gas safety inspection initially analized boiler found co readings to be out of the manufacturer's specification so isolated boiler and order the service kit to allow the appliance to be stripped and cleaned. Boiler is a remeha avanta plus 30 0arts will take 2-3 days to arrive at wholesalers Offsite 1330 parts needed Attend 21/05/21 1330 strip and clean boiler replace all gaskets re- commission ant carry out a cp15 all ok Off site 1530 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes