## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
A06 Main Building, Yard A
Smulders Hadrian Yard
Hadrian Way
NE28 6HL
CARRIED OUT ON BEHALF OF
Smulders Hadrians Yard
REPORT NUMBER: 21-7641
DATE OF REPORT: 07/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7641
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Smulders Hadrians Yard
Address | Hadrians Way
Newcastle Upon Tyne
NE28 6HL
Site Address | A06 Main Building, Yard A
Smulders Hadrian Yard
Hadrian Way
NE28 6HL
Carried Out On | 28/04/2021, 07/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Gas safe

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7641
SECTION 3: Report
Attend site 1500 to carry out a cp15 Strip boiler find gas valve full of debris blow out pipework and reassemble but once tested find blocked up again repeat 2 more times , once clear finish off the strip and clean , test boiler but find boiler needed a new thermocuple. Isolate boiler will return to site with a thermocuple as I haven't got one on the van Offsite 1630 fow On site 0800 offsite 0900 service boiler replace thermocuple Van stock thermocuple £25

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes