## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Southgate Court Cams
Newcastle upon Tyne
NE12 8UW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7644
DATE OF REPORT: 30/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7644
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 12 Southgate Court Cams
Newcastle upon Tyne
NE12 8UW
Carried Out On | 29/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Uncontainable leak from the pipe in the passage - whole ceiling has come down - tenant elderly Covid clear

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7644
SECTION 3: Report
LPC - CS 29.4.21 1415 - 1625 Arrived on site and gained access to main building , spoke to site manager . Manager informed us that the leak is in flat 13 , not 12 as per on the job sheet ( supplied by client) Gained access to flat where pipe work and services enter in the cupboard . Repaired leak on 2 x port valve and also on cold water meter . Monitored for further leaks , found to be ok . I highly recommend fitting a new cold water meter , as I managed to repair the leak on the crown ( area that holds display ) I have ordered a new meter from Steve Reay at Plumb Centre Silverlink, due in monday for collection.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7644
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7644
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7644
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7644
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7644
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes