## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7657
DATE OF REPORT: 04/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7657
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
Carried Out On | 04/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Zenith - Leak on Radiator (Front Main Entrance) - Currently being contained with a dish - as per K Fairless

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7657
SECTION 3: Report
Attend site 1145 for a leaking radiator in the front foyer Find radiator is a LST radiator and on full heat and no leak showing, turn radiator off and leave to cool down , once cool find the blanking plug at the bottom right hand side of the radiator leaking when cool. Isolate flow and return to the radiator and unscrew the plug and drain radiator using wet vac, once drained use tread tape on plug threads and refit. Once radiator refilled test fir leaks hot/cold find all ok , refit Lst covers Offsite 1300 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7657
SECTION 4: Photos
Room / Area
Description
Notes
Plug leaks when cold
Room / Area
Description
Notes
Once drained wrap threads with locktite and refit/ and fill
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes