## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Orchard
South Preston Grove
North Shields
NE29 0HB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7658
DATE OF REPORT: 05/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7658
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | The Orchard
South Preston Grove
North Shields
NE29 0HB
Carried Out On | 30/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Boiler 2 keeps tripping.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7658
SECTION 3: Report
LPC - CS 30.4.21 1300 - 1335 Arrived on site and gained access to building, proceeded to plantroom . Middle module displaying fault code E129 = fan speed error . Reset module and appliance fired , checked pressure hoses . Reccomend fitting new fan to module 2 as per manufacturers advice , if fault persists. Hamworthy Fleet F100V

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7658
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7658
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7658
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7658
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7658
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes