## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
67 Old Custom House
Borough Road
North Shields
NE29 6LH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7659
DATE OF REPORT: 04/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7659
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 67 Old Custom House
Borough Road
North Shields
NE29 6LH
Carried Out On | 04/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
The radiator on the ground floor directly opposite the lift door is hangingoff the wall and is in serious danger of rupturing and flooding. Reported by tenant from flat 4

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7659
SECTION 3: Report
Attend site 1330 for radiator hanging off the wall by lift Gain access to site and locate radiator find it leaking as its been ripped off the plasterboard wall, isolate the water and strip out radiator, find the old brackets have ripped holes in the wall leaving nothing to screw onto so had to get our joiner to attend to fix buttons onto the holes to allow the radiator to be re hung. Freeze the pipe to the trv after it had cooled enough and change the trv as this was damaged by the radiator hanging off the wall. Once changed the radiator rehung and filled , checked for leaks all ok. Adam attended to fit paraces to the wall Parts used 1 no drayton trv4 van stock £25 Offsite 1600 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7659
SECTION 4: Photos
Room / Area
Description
Notes
The wall damaged by the radiator ripped off the wall
Room / Area
Description
Notes
Radiator reinstalled and new trv fitted
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7659
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7659
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7659
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7659
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes