## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Matfen Court
Chester Le Street
Durham
DH2 2 TX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7666
DATE OF REPORT: 24/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7666
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Matfen Court
Chester Le Street
Durham
DH2 2 TX
Carried Out On | 04/05/2021, 24/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Zenith Mechanical to come out to repairs the boilers at Matfen Court as one is off completely so we have no backup currently and the other has a fault so may go off leaving us with no boilers at all. The one working boiler is apparently in 'Hand mode' only due to the fault and has been for 2 weeks and the first boiler looks like it has been off for some time.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7666
SECTION 3: Report
Attend site 1500 Investigate why boiler no 1 is off Find boiler has no pcbs Parts required 1 x main pcb 1 x ignition pcb 1 x display pcb Parts all ordered Offsite 1630 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes