## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
30 Phoenix Rise
Ambassadors Way
North Shields
ne29 8sq
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7677
DATE OF REPORT: 04/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7677
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 30 Phoenix Rise
Ambassadors Way
North Shields
ne29 8sq
Carried Out On | 01/05/2021
Survey Completed By | Samuel Coleman
SECTION 2: Introduction
No heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7677
SECTION 3: Report
Engineer attended site @ 14:44 hrs, found no heating within the flat. Proceeded to plant room and found fault. Manually switched over the heating pump sets, which allowed the system to circulate again. Reattended flat to ensure heat was coming through. Left site @ 16:49hrs

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7677
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7677
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7677
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7677
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7677
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes