## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Aged Miners Homes
Tan Hills
Nettlesworth
DH2 3PB
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7683
DATE OF REPORT: 15/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7683
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Aged Miners Homes
Tan Hills
Nettlesworth
DH2 3PB
Carried Out On | 02/05/2021
Survey Completed By | Samuel Coleman
SECTION 2: Introduction
No heating & hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7683
SECTION 3: Report
Sam’s first attendance he contained the leak and got the boiler going as it was late at night it was not worth attempting the repair. Due to a defective diverter housing and a snapped securing screw a small leak from the diverter cartridge which was causing a low pressure lock out required multiple repair attempts with different types and sizes of o rings to finally rectify the leak a d allow the tenant to have heating and hot water. Time on site was increased due to having to drain the heating system, attempt repair and then check for leaks during a heat test. This process unfortunately had to be repeated multiple times throughout the day to truly test and repair the leaking component and mitigate against a recall to site later in the day due to a pressure loss.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7683
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes