## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7701
DATE OF REPORT: 04/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7701
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 04/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water in flats 16 22 26.35

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7701
SECTION 3: Report
Attend site at 1630 Gain access to flat 35,16 and 22 to vent all radiators, heating now working in flats but no 22 complaining of poor hot water temp, check temperature and find only 35° , check plantvroom find ok but pipework full of air. Pull water through until hot but neighbours start complaining of poor hot water temp so had to carry out the same tests in neighbours properties, now hot water temps at 56° but system still full of air. No access to flat 26 Off site 2000 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes