## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 The Wynd
Amble
Morpeth
NE65 0LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7710
DATE OF REPORT: 05/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7710
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 The Wynd
Amble
Morpeth
NE65 0LF
Carried Out On | 05/05/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Boiler renewal required as per Lee Bramley

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7710
SECTION 3: Report
Current appliance is a baxi Bermuda 50/5 inset BBU located in the dining room, Hot water is supplied via an indirect cylinder located in cup6u der the stairs backing onto the dining room. My suggestion is to install new combi boiler in the old outhouse which is connected to the kitchen. Install with single vertical flue. Waste is available and all other pipework appears to run in boxing above back door. First floor heating pipework encased within concrete floor. Images provided via separate email.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7710
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7710
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7710
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7710
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7710
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes