## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Kimberley Street
Blyth
Northumberland
NE24 1HW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7712
DATE OF REPORT: 05/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7712
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Kimberley Street
Blyth
Northumberland
NE24 1HW
Carried Out On | 05/05/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Boiler needs to be urgently replaced as per Ken White. Please attend asap as tenant has no heating or hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7712
SECTION 3: Report
Current boiler is an ideal logic he 30 located in 1st floor landing cupboard with 2m vertical flue through loft space. All pipework available and gas is in 22mm copper. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes