## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Cheltenham Court
St Helens Auckland
Bishop Auckland
DL14 9FF
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7714
DATE OF REPORT: 07/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7714
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 23 Cheltenham Court
St Helens Auckland
Bishop Auckland
DL14 9FF
Carried Out On | 06/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Check for carbon monoxide leak following doctor advising resident may have carbon monoxide poisioning re daughter, 07784 186966. Issued by SJ

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7714
SECTION 3: Report
Attend site 1500 to carry out a co room sweep Set analizer and personal co alarm up outside in fresh air and take co/co2 readings. Initial readings CO. 0 CO2. 714 Once inside property found cooker capped off by others and gas fire capped off. Both have parts removed so they cannot be reinstated. Carried out a visual inspection of the boiler and a visual inspection of the full flue through the loft. Checked test points on the flue and all appear to be in good working order. Turned boiler on whilst carrying out room sweep. Once the time period of the test was up CO and CO2 readins were noted CO. 0 CO2. 886 This ideal room sealed heating boiler is the only appliance connectto the gasand was being used when the suspected CO escape happened. This test proves products of combustion present in the property. Left boiler working. All okay. Off site 1630

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7714
SECTION 4: Photos
Room / Area
Description
Notes
Initial reading from outside
Room / Area
Description
Notes
1st test next to boiler with boiler running
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes