## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 St Johns Court
Sacriston
County Durham
DH7 6JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7715
DATE OF REPORT: 05/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7715
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 St Johns Court
Sacriston
County Durham
DH7 6JA
Carried Out On | 05/05/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No hot water/no error codes 1409 is door code- just enter prop. ---- vulnerable customer ---- staying home 24Hr

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7715
SECTION 3: Report
Intermittent power to element on arrival. LED on fuse spur wasn't lit up. Turned off spur and ran tests on element which all came back fine. Power going to element, resistance is fine. When turned spur back on LED lit up. As element was running from cold no way to see if fix had worked. Advised to test in the morning as the immersion that was wired in was just the overnight immersion. And the boost immersion was not wired in. Advised tenant to check jn morning once it has had time to heat up and then if no better re contact about issue. Put down for follow kn work for boost element to be wired in.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7715
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7715
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7715
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7715
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7715
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes