## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Hazel Cottage
Harrogate
HG3 3QL
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-7730
DATE OF REPORT: 06/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7730
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | Hazel Cottage
Harrogate
HG3 3QL
Carried Out On | 06/05/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Replace Boiler - Domestic Combi Boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7730
SECTION 3: Report
Current system is a pressurised heating and hw system consisting of an unvented hw cylinder and S plan along with a ideal icos he 12 as the heat source. If the job is a heat only replacement replace with heat 15 and change circulating pump and x 2 two port valves ( 22mm ) If the job is a conversion pick up the hot, cold and condensate from the kitchen sink via condensate clamp. The gas will not need upgraded in either case, stand off kit required. Property has 7 radiators on 10mm pipe work. There are spare ways on the legrand fuse board.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7730
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7730
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7730
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7730
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7730
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes