## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Rolley Way
Prudhoe
NE42 5FH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7743
DATE OF REPORT: 07/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7743
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Rolley Way
Prudhoe
NE42 5FH
Carried Out On | 07/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Refit gas hob and second fix sink.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7743
SECTION 3: Report
Attend site 1330 to fit hob and and sink all pipework altered Parts used all from vanstock 2 no 15mm flexible hoses 6 no 15mm elbows tectite 2 no 15mm isolation valves Total £25

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes