## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Aged Miners Homes
Stella
Blaydon
NE21 4NG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7746
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7746
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Aged Miners Homes
Stella
Blaydon
NE21 4NG
Carried Out On | 07/05/2021, 24/05/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
flush out l/room and bedroom rads iss gr

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7746
SECTION 3: Report
When arriving on site tenant instructed me that they have had 2 people out in 6 weeks to flush out the living room radiator and are still not happy with the results that this is bringing, this is why I am recommending a new radiator for the livingroom (1130x540 double, myson round top) While on site I also cleaned the magna clean and nipped up a small leak under boiler.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes