## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Towneley Court
Stanley COUNTY
County Durham
DH9 7NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7747
DATE OF REPORT: 13/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7747
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Towneley Court
Stanley COUNTY
County Durham
DH9 7NL
Carried Out On | 27/04/2021 , , 13/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
New restricted valve required.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7747
SECTION 3: Report
Attend site 1515 Previous engineer had been and requested that the mixing valve be replaced on as poor flow carry out a test find the whole building has poor flow, the system is open vented and cylinders are on the ground floor with the header tanks in ceiling space in the 1st floor, (ive checked 4 other flats ) and every flat is the same so I've piped out the mixing valve to try and over come the issues. But the thermostatic mixing taps are ment to have balanced hot and cold supplies, so they won't work. I advice either fitting electric showers or change open vented domestic hot water tanks for unvented. Spoke to James Park who now knows the problem and had advised that the building is under review to get up dated offsite 1645

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes