## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
65 Park Drive
Langley Park
Durham
DH7 9TE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7751
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7751
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 65 Park Drive
Langley Park
Durham
DH7 9TE
Carried Out On | 24/05/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Renew boiler convert to combi fit trv to large bedroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7751
SECTION 3: Report
Boiler in currently is a worchester green star HE Boiler is working currently Horizontal flue kit Condensate runs internal System is a y plan Primary filter and scale reducer required 15mm trv required Current shower is a bar shower, tank fed Tenant is off all week this week and goes back to work next Thursday, so if job could be done before then it would be ideal.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7751
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7751
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7751
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7751
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7751
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes