## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 carrside bungalows
Carrside
Framwellgate moor
Dh1 5jq
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7774
DATE OF REPORT: 08/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7774
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 8 carrside bungalows
Carrside
Framwellgate moor
Dh1 5jq
Carried Out On | 08/05/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7774
SECTION 3: Report
No issues with neither heating or hot water. Tested both on arrival and both working fine. Tenant mentioned that thermostat was faulty and had to control heating from boiler, thermostat working fine along with timer. Left the heating on constant at the timer and set at 25 on stat as requested by tenant. Advised tenant not to touch boiler and control heating from stat instead.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7774
SECTION 4: Photos
Room / Area
Kitchen
Description
Boiler working on heating
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes