## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Adair Terrace
Mill Road
Chopwell
NE17 7HA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7775
DATE OF REPORT: 08/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7775
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 Adair Terrace
Mill Road
Chopwell
NE17 7HA
Carried Out On | 08/05/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7775
SECTION 3: Report
Low pressure causing f75 fault on boiler. Topped up boiler then checked for usual pressure loss problems. Prv, expansion both showing no issues, no signs of any leaks on either boiler or rads. Blead rad for tenant. Turned pre heat on for tenant as she said ita taking a while for hot water to come out the tap when running. Advised to monitor.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7775
SECTION 4: Photos
Room / Area
Living room cupboard
Description
Boiler fired up after topping pressure up.
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes