## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Gardner court
Garner court
Easington colliery
SR8 3RR
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7777
DATE OF REPORT: 08/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7777
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 5 Gardner court
Garner court
Easington colliery
SR8 3RR
Carried Out On | 08/05/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7777
SECTION 3: Report
F76 fault on boiler due to overheat. When reset boiler fired. Problem with thermostat which displays error. Boiler is set for 21.5 for heating but cannot be controlled by thermostat so boiler stays running until room reaches that temp which will take a while as room stat in hallway, I think this is probable cause of overheat. Tenant says stat has been like this for a while. New room thermostat required which is a vaillant VRT50 digital room stat. The programmer in the front of the boiler is a vaillant VRC430.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7777
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Vaillant VRT50 digital room stat
Notes
Showing error code so unable to control heating.
Room / Area
Hallway cupboard
Description
Settings set on boiler
Notes
Room / Area
Hallway cupboard
Description
Showing that boiler has fired again.
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7777
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7777
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7777
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7777
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes