## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
46 Woody Close
Delves Lane
Consett
Dh8 7HN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7780
DATE OF REPORT: 10/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7780
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 46 Woody Close
Delves Lane
Consett
Dh8 7HN
Carried Out On | 11/05/2021, 10/05/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Renew boiler asap see description Tenant is 88 years old so urgent job required. Vaillant ecotec pro 28 - horizontal flue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7780
SECTION 3: Report
Current boiler is a vaillant ecotec pro located in 1st floor landing cupboard with horizontal flue to outside. Gas supply is in 22mm copper and condensate pipework is available. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7780
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes