## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Castle Close
Fellside Park
whickam
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-7781
DATE OF REPORT: 10/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7781
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 29 Castle Close
Fellside Park
whickam
NE16 4HU
Carried Out On | 10/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating in flat 29 Castle Close tnt Mrs Ridley has hot water 01914881049 job was reported by John Fletcher - its a commercial boiler here no reports currently anyone else has any issues ---- ----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7781
SECTION 3: Report
Attend site 1230 check flat 29 and find she has only luck warm heating gain access to plant room and find bms is saying inside room stat failed contact Adam from multiphase and raised a job for them to attend to rectify the issue carried out a TEMPORARY repair so site have heating Offsite 1415 Adam from multiphase onsite

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes