## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Rolley Way
Prudhoe
NE42 5FH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7788
DATE OF REPORT: 11/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7788
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Rolley Way
Prudhoe
NE42 5FH
Carried Out On | 10/05/2021 11/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Leak under the sink and also a sure stop to fit.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7788
SECTION 3: Report
Attend site 1630 for a leak under the sink which was installed by me on Friday Find the part leaking to be a conex 'to which cannot be seen because of the kitchen unit, this is nothing to do with the install on Friday, its existing pipework behind sink unit. I had to remove yhe back of the sink unit and isolated the water once drained the pipework stripped and the olives on the t pasted and reassembled and tested find all ok Need to reatend tomorrow to install a remote stop cock Offsite 1815 fow Attend site 0800 11/05/21 to install a remote stop cock go to site office to pick up stock cock and attend site , isolate and drain down dcw system and alter pipework to allow the unit to be fitted and fit the remote unit inside the kitchen unit , test operation and show joiner onsite how to use all complete Offsite 0945

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes