## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 aged miners homes
Hetton le hole
Durham
DH5 0BA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7791
DATE OF REPORT: 10/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7791
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 23 aged miners homes
Hetton le hole
Durham
DH5 0BA
Carried Out On | 10/05/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7791
SECTION 3: Report
Diverter was stuck mid position and wasn't recognising demand when heating was turned on. Freed up diverter and switched between heating and hot water numerous times to make sure both were working. Both working fine after carrying out previous actions.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7791
SECTION 4: Photos
Room / Area
Kitchen
Description
Boiler running
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes