## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7794
DATE OF REPORT: 28/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7794
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
Carried Out On | 11/05/2021
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
No Heating & Hotwater . Tenant has reported an error code of E1.11. Has gas supply. Boiler is a Worcester 24Combi I Suspect failure to expansion vessel - vunrable tenant plesae attend asap - Bungalow 7 -

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7794
SECTION 3: Report
Potterton promax combi 28HE A. GC no. 47-393-22. Reports of boiler needs topping up daily. Property checked for leaks. Pressure vessel found to have 0.5 bar in it. Pressure vessel topped up. Prv checked. Boiler working ok and Pressure gauge steady as boiler warmed up.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes