## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Lambourne
Bournemoor
Houghton-Le-Spring
DH4 6EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7799
DATE OF REPORT: 28/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7799
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Lambourne
Bournemoor
Houghton-Le-Spring
DH4 6EW
Carried Out On | 28/05/2021, 01/06/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Relocate rads in bedrooms x2 ---- please moves rads to under windows to front and rear bedrooms will req rerouting pipe work in loft space and renew trunking

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7799
SECTION 3: Report
10m or taylon trunking 15mm 15mm taylon double clips Room 1 20m of 10mm plastics Room 2 15m or 10mm plastic 10mm nail on clips Bulldog terrier 10mm valves x2 4 10mm pushfit connectors 6 elbows 20 inserts

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes