## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7810
DATE OF REPORT: 11/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7810
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13 Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
Carried Out On | 11/05/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
commercial boiler - no heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7810
SECTION 3: Report
Gas valve circuit tripped and needed resetting. Once reset boiler fired.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7810
SECTION 4: Photos
Room / Area
Plant room
Description
Gas valve circuit tripped
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes