## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Aged Miners Homes
Ramsey Terrace
Delves Lane
DH8 7EU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7813
DATE OF REPORT: 25/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7813
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 Aged Miners Homes
Ramsey Terrace
Delves Lane
DH8 7EU
Carried Out On | 24/05/2021, 25/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
check cistern for leak iss gr Zenith attended 24/05 - leak is now worse.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7813
SECTION 3: Report
Leak on rubber on flush pipe going into Pan, applied small amount of silicone to the gap where drip was coming from, tested and no longer leaking Attend site 1530 for leaking toilet find fitting from flush pipe leaking pick up new and drain down cistern, strip out old bung and replace with new test all ok no leaks. Advice fitting a new close couple toilet as this toilet is ancient and is soaking with condensation and floor is getting wet Parts used 1 no flush pipe 1 no flush pipe bung Off site 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7813
SECTION 4: Photos
Room / Area
Description
Notes
Leaking flush pipe bung replaced with new
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes