## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
36 Castle Close
Fellside Park
Whickam
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-7824
DATE OF REPORT: 13/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7824
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 36 Castle Close
Fellside Park
Whickam
NE16 4HU
Carried Out On | 13/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Standard Callout for Commerical Boilers shower in flat 36 has no hot water the temperature cant be regualated.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7824
SECTION 3: Report
Attend site 1430 for shower running hot and cold, find cartridge faulty , and no longer made . New shower needed its a bar mixer shower with standard 150mm centers for pipework. New shower needed picture attached Offsite 1500

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7824
SECTION 4: Photos
Room / Area
Description
Notes
New shower needed
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes