## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
44A Slessor Road
Acomb
YORK
YO24 3JJ
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-7825
DATE OF REPORT: 11/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7825
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 44A Slessor Road
Acomb
YORK
YO24 3JJ
Carried Out On | 11/06/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Replace Boiler - Domestic Combi Boiler Conversion

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7825
SECTION 3: Report
Boiler in currently is a potterton promax 28 Pipe work accessible Condensate can terminate into sink Horizontal flue kit Stand off bracket required Scale reducer required Small filter required

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7825
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7825
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7825
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7825
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7825
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes