## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Whinstone Lodge
Front Street
Monkseaton
NE25 8DB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7826
DATE OF REPORT: 13/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7826
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Whinstone Lodge
Front Street
Monkseaton
NE25 8DB
Carried Out On | 13/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Fault lights showing on - Primary ASHP flow field & ASHP 1 & 2 flow field.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7826
SECTION 3: Report
Attend site 1245 for ASHP primary pumps in fault and ASHP no 1-2 in fault. Gain access to plant room try resetting ASHP 1-2 but still in fault ac engineer needed Find both primary pumps in fault both showing dry running fault . Isolate and drain down pumps and strip out find both sensors gunked up clean down and reassemble and test find both now working. A c engineer to attend to rectify faults on ASHP 1-2 Offsite 1400 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes