## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Tamar Court
North Tyneside
Tyne & Wear
NE29 8QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7838
DATE OF REPORT: 02/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7838
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 23 Tamar Court
North Tyneside
Tyne & Wear
NE29 8QR
Carried Out On | 21/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Radiator in bathroom not working.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7838
SECTION 3: Report
Attend site 1230 find radiator in bath room not working , carried out tests find that its airlocked, used a hose pipe on the drain off pull water through until air lock clears. Test operation of radiator wait unit hot , all ok Offsite 1330 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7838
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7838
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7838
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7838
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7838
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes