## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Fellsdyke Court
1-6 Fellsdyke Court
Gateshead
NE10 9SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7841
DATE OF REPORT: 11/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7841
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Fellsdyke Court
1-6 Fellsdyke Court
Gateshead
NE10 9SB
Carried Out On | 01/06/2021, 04/10/2021,, 06/10/2021, , 11/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
replace water heater from stock and supply new flue and brick up air bricks next to flue James Park

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7841
SECTION 3: Report
Attend site to install new (second hand boiler) Offsite 16.30 Attend site 0800 -1015 then 12-15 -1700 Pull new earth cable in for new water heater as there wasn't one , trace fault on water heater to faulty air pressure switch tube leaking and not holding pressure Install gas pipework and prv and fill system to check for leaks Flue to install 1300 1630 install flue and commissioned

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7841
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes