## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Castle Lea
Prudhoe
Northumberland
NE42 6NH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7847
DATE OF REPORT: 18/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7847
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Castle Lea
Prudhoe
Northumberland
NE42 6NH
Carried Out On | 18/05/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Toilet and WHB to change

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7847
SECTION 3: Report
Fitted WHB and WC as per John. When filling system back up found leak on corroded pipe under the floor, identified and replaced pipe work.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7847
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7847
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7847
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7847
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7847
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes