## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Strother Close
Haydon Bridge
Hexham
NE47 6JN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7865
DATE OF REPORT: 15/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7865
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 26 Strother Close
Haydon Bridge
Hexham
NE47 6JN
Carried Out On | 15/05/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Lady has no heating Air source

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7865
SECTION 3: Report
When arrived on site system was in fault. Upon further inspection found that the system pressure was at 0 on gauge, when filling back up noticed a lose connection on the air source unit outside where I found a large amount of system water had dispersed. I nipped the connection back up and it was no longer leaking filled the system up and reset it. Instantly the fan and pump kicked in. I waited on site until the water got to temperature then switched over to the heating, radiators starting to heat when leaving site.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes