## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 redesdale court
Peterlee
Durham
Sr8 1fb
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7866
DATE OF REPORT: 17/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7866
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 8 redesdale court
Peterlee
Durham
Sr8 1fb
Carried Out On | 17/05/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Repair constantly filling toilet

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7866
SECTION 3: Report
When arrived on site water overflowing into the over flow pipe. Upon inspection found that the ball valve was not operations as it should be to stop the supply. Took apart the valve and found a small bit of plastic lodged between the rubber and the body of the full section. Removed and put back together, valve now working correctly.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7866
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7866
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7866
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7866
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7866
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes