## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms with House, Gifford House
Rooms with House, Gifford House
Bensham
NE8 1NQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7867
DATE OF REPORT: 17/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7867
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms with House, Gifford House
Rooms with House, Gifford House
Bensham
NE8 1NQ
Carried Out On | 17/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Job Description - Survey site for new heat source.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7867
SECTION 3: Report
Attend site 0800 but no access to room until 0900 Servey boiler swap from 48kw open flue to 30 kw room sealed wall hung boiler. Contact Keith Forster to go through the figures and he has stated that 30 kw will be enough , put to gether a quote for James Park from Karbon homes. Order parts as site has no heating or hot water. Off site 1200

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7867
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes