## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Pinetree
Esh Winning
Durham
DH7 9JZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7871
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7871
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Pinetree
Esh Winning
Durham
DH7 9JZ
Carried Out On | 24/05/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Renew boiler - Boiler is a ideal logic in the kitchen cupboard horizontal flue ---- Boiler still in use but the tenant has to top up the pressure daily

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7871
SECTION 3: Report
Boiler is a ideal logic 30 in the kitchen Pipe work coming from the wall Condensate will be able to be ran to kitchen sink Boiler is zoned off to upstairs and down stairs heating so will need two zone valves and two thermostats. Pictures of thermostat and pipe work send to the admin account.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes